Signal Processing in a Heartbeat
Erik-Jan van Kesteren
Methodology & Statistics, UU

---
Signals everywhere
It is easy & cheap to measure all kinds of signals

---
Signals everywhere
It is easy & cheap to measure all kinds of signals

---
Signals everywhere
It is easy & cheap to measure all kinds of signals

---
Signals everywhere
It is easy & cheap to measure all kinds of signals

---
Signals everywhere
It is easy & cheap to measure all kinds of signals

---
Signal =/= information
Information from signals:
  - Light signal -> What was today’s total sun power?
  - Distance signal -> Is someone passing by?
  - Soil moisture signal -> Why do my plants keep dying?
  - Accelerometer signal -> Is this person travelling by bicycle?
  - Electrocardiogram (ECG) -> What is my heart rate?

---
In this presentation
Motivating example: heart rate measurement
Extracting heart beat locations (R peaks) from ECG signal
The (famous) Pan-Tompkins algorithm

---
WARNING
I am not an expert
I am not an engineer
I am not a medical professional
This presentation is for illustration purposes only

---
Motivating example
Heart rate is affected by / related to stress / anxiety
Measure heart rate & variation -> measure stress / anxiety levels
Can be used in further research, e.g. in sleep or insomnia
With wearable sensors: long-term (ambulant) ECG

---
The ECG signal
Measure voltage (mV range) at the skin
Voltage changes due to heart muscle activity

---
The ECG signal

---
The ECG signal
We know exactly what we are looking for!

---
The ECG signal
Example signal from rsleep package
200 Hz
Y-axis: mV

---
The goal: detecting R-peaks
Detecting
R-peaks
Heartrate (bpm): number of R-peaks (beats) per minute

---
But…
Real-world data is rarely clean
Voltage changes are really small!
Noise sources:
Wandering baseline (drift)
Electromagnetic interference (from mains power)
Muscle tremors
Weird artefacts (moving electrodes?)

---
Ambulant ECG example
Example signal from movisens device
1024 Hz
Y-axis: mV

---
Line noise

---
Weird artefacts

---
Weird artefacts

---
Luckily we have prior information
We know the properties of the signal we are interested in: QRS complex
We know the properties of common noise sources (e.g., line noise is 50-60 Hz)
We can create a procedure to filter the signal from the noise

---
The Pan-Tompkins algorithm
Bandpass filter (5-15Hz)
Compute derivative
Square
Boxcar integration (150ms support)
Detect peaks in resulting signal

---
1. Bandpass filter

---
Bandpass filter
Only allow those frequencies where the target signal is
The filter lets through (passes) a range (band) of frequencies, and blocks all others
There are many ways of doing it but most of them achieve similar (imperfect) results
I will use a butterworth filter of order 2

---
High frequency (EMI) example

---
Frequency domain: fourier transform

---
Frequency domain: fourier transform

---
Low frequency (drift) example

---
2. Compute derivative

---
Compute derivative
The QRS complex has a strong change in voltage relative to its surroundings
At the R-peak, the derivative is briefly 0, before becoming strongly negative

---
Compute derivative
Why derivative?
Sometimes the baseline relative to the R-peak is different

---
Compute derivative
Again, many ways of doing this
The easiest discrete way: compute the differences between signal values. In R:
ecg_deriv = diff(ecg)
I use a Savitsky-Golay filter, to achieve a smooth derivative

---
3. Square

---
Square
Squaring is simple: just multiply signal by itself
Greatly improves the signal-to-noise by giving large values more weight

---
4. Boxcar integration

---
Boxcar integration
Go over the signal with a moving window, summing all values in the window
Equal to convolving the signal with a boxcar function
Pan-Tompkins suggest a window width of 150 ms

---
5. Detect peaks

---
Detecting peaks
Detecting peaks in this processed signal is now easy
Draw a horizontal line at a reasonable location
Anything above that line is a peak

---
Detecting peaks
Pan+Tompkins also suggest a refractory period
We know that heartbeats need at least 0.2 seconds between them
Code this information in the detector

---
Conclusion
Signals are everywhere and easy to measure
Measurements have noise
Using signal processing, we can increase the S/N ratio
Use prior knowledge about the noise (bandpass filter) and about the signal of interest (derivative, refractory period) to extract information

---
References
Pan, J., & Tompkins, W. J. (1985). A real-time QRS detection algorithm. IEEE transactions on biomedical engineering, (3), 230-236.
Das, S., & Chakraborty, M. (2012). QRS detection algorithm using Savitzky-Golay filter. Aceee International Journal on signal & Image processing, 3(1).
Paul Bouchequet (2019). rsleep: Analysis of Sleep Data. R package version 1.0.1. https://CRAN.R-project.org/package=rsleep
Ambulant ECG example data provided by Lara Rösler of The Netherlands Institute for Neuroscience